## failures_template
Instructions: please create a new tab for your model. Add rows for multiple faults
Comparison 1 (Original training / test sets)
|  |  | Training set 1 |  |  | Test set 1 |  |  | Turbine_ID | Component | Timestamp | Remarks
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date | T07 | GENERATOR | 2017-08-21T14:47:00+00:00 | Generator damaged
Gen Bearing |  |  | 2016-04-30 12:40 |  |  | ? |  |  | T07 | GENERATOR_BEARING | 2016-04-30T12:40:00+00:00 | High temperature in generator bearing (replaced sensor)
Gen Bearing |  |  | 2017-08-20 06:08 |  |  | ? |  |  | T07 | GENERATOR_BEARING | 2017-08-20T06:08:00+00:00 | Generator bearings damaged
Generator |  |  | 2017-08-21 14:47 |  |  | ? |  |  | T07 | HYDRAULIC_GROUP | 2017-06-17T11:35:00+00:00 | Oil leakage in Hub
Transformer |  |  | 2016-07-10 03:46 |  |  | ? |  |  | T07 | TRANSFORMER | 2016-07-10T03:46:00+00:00 | High temperature transformer
Transformer |  |  | 2016-08-23 02:21 |  |  | ? |  |  | T07 | TRANSFORMER | 2016-08-23T02:21:00+00:00 | High temperature transformer. Transformer refrigeration repaired
Hydraulic Group |  |  | 2017-06-17 11:35 |  |  | ?
Gearbox |  |  | - |  |  | ?
General |  |  | - |  |  | ?
Comparison 2 (Training set -> split 80/20 into a new training/test set)
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing |  |  | 2016-04-30 12:40 |  |  | 2017-08-20 06:08
Generator |  |  | - |  |  | 2017-08-21 14:47
Transformer |  |  | 2016-07-10 03:46 |  |  | -
Trainsformer |  |  | 2016-08-23 02:21 |  |  | -
Hydraulic Group |  |  | - |  |  | 2017-06-17 11:35
Gearbox |  |  | - |  |  | -
General |  |  | - |  |  | ?

## Julian
Instructions: please create a new tab for your model. Add rows for multiple faults
(turbine 7)
Comparison 1 (Original training / test sets)
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg | 2016-04-30 12:40 | 2016-02-01 00:50 |  | ? | 2017-12-31 23:30
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg | 2017-08-20 06:08 | 2017-07-03 17:10 |  |  | 2017-12-31 23:40
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg |  | 2017-07-17 20:10 |  |  | 2017-12-31 23:50
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg
Generator |  |  | 2017-08-21 14:47 |  |  | ?
Transformer |  |  | 2016-07-10 03:46 |  |  | ?
Transformer |  |  | 2016-08-23 02:21
Hydraulic Group |  |  | 2017-06-17 11:35 |  |  | ?
Gearbox |  |  | - |  |  | ?
General |  |  | - |  |  | ?
Comparison 2 (Training set -> split 80/20 into a new training/test set) | [8 empty] | 2017-06-17
|  |  | Training set 1 |  |  | Test set 1 |  |  | 2017-09-01
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date | 2017-06-16 17:20
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg | 2016-04-30 12:40 | 2016-02-01 00:50 |  | 2017-08-20 06:08 | 2017-10-09 09:40 |  | 2017-06-17 17:30:00+00:00
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg |  | 2017-07-03 17:10 |  |  | 2017-11-09 19:10 |  | 2017-06-17 17:40:00+00:00
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg |  | 2017-07-17 20:10 |  |  | 2017-12-31 23:30 |  | 2017-07-04 01:40:00+00:00
Gen Bearing | JQ | Gen_SlipRing_Temp_Avg |  |  |  |  | 2017-12-31 23:40 |  | 2017-08-20 06:00:00+00:00
| JQ | Gen_SlipRing_Temp_Avg |  |  |  |  | 2017-12-31 23:50 |  | 2017-08-31 23:30:00+00:00
| JQ | Gen_SlipRing_Temp_Avg | [6 empty] | 2017-08-31 23:40:00+00:00
| JQ | Gen_SlipRing_Temp_Avg | [6 empty] | 2017-08-31 23:50:00+00:00
| JQ | Gen_SlipRing_Temp_Avg | [6 empty] | 2017-09-01 00:00:00+00:00
| JQ | Gen_SlipRing_Temp_Avg
| JQ | Gen_SlipRing_Temp_Avg
| JQ | Gen_SlipRing_Temp_Avg
Generator |  |  | - |  |  | 2017-08-21 14:47
Transformer |  |  | 2016-07-10 03:46 |  |  | -
Trainsformer |  |  | 2016-08-23 02:21 |  |  | -
Hydraulic Group |  |  | - |  |  | 2017-06-17 11:35
Gearbox |  |  | - |  |  | -
General |  |  | - |  |  | ?
* note: I see 80% of the time as being less than 2017-Dec-06, so 8/20/17 6:08 goes in the left side in my mind

## Luiz
Original training / test sets
|  |  | Training set 1 |  |  | Test set 1 |  |  | Turbine_ID | Component | Timestamp | Remarks
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date | T07 | GENERATOR | 2017-08-21T14:47:00+00:00 | Generator damaged
Gen Bearing | Luiz | Gen_Bear_Temp_Avg | 30/04/2016 12:40 | no alarm | - | ? | 2017-03-12 | - | T07 | GENERATOR_BEARING | 2016-04-30T12:40:00+00:00 | High temperature in generator bearing (replaced sensor)
Gen Bearing | Luiz | Gen_Bear_Temp_Avg | 20/08/2017 06:08 | 15/05/2017 | - | ? | - | - | T07 | GENERATOR_BEARING | 2017-08-20T06:08:00+00:00 | Generator bearings damaged
Generator | Luiz | Gen_Phase1_Temp_Avg | 21/08/2017 14:47 | 15/05/2017 | - | ? | 2017-03-11 | - | T07 | HYDRAULIC_GROUP | 2017-06-17T11:35:00+00:00 | Oil leakage in Hub
Transformer | Luiz | HVTrafo_Phase2_Temp_Avg | 2016-10-07 03:46 | 2016-01-05 | - | ? | no alarm | - | T07 | TRANSFORMER | 2016-07-10T03:46:00+00:00 | High temperature transformer
Transformer | Luiz | HVTrafo_Phase2_Temp_Avg | 23/08/2016 02:21 | 2016-01-05 | - | ? | - | - | T07 | TRANSFORMER | 2016-08-23T02:21:00+00:00 | High temperature transformer. Transformer refrigeration repaired
Hydraulic Group | Luiz | Hyd_Oil_Temp_Avg | 17/06/2017 11:35 | no alarm | - | ? | no alarm | -
Gearbox | Luiz | Gear_Bear_Temp_Avg | - | no alarm | - | ? | no alarm | -
Training set -> split 80/20 into a new training/test set
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing | Luiz | Gen_Bear_Temp_Avg | 30/04/2016 12:40 | no alarm | - | 20/08/2017 06:08 | 15/05/2017 | -
Generator | Luiz | Gen_Phase1_Temp_Avg | - | no alarm | - | 21/08/2017 14:47 | 15/05/2017 | -
Transformer | Luiz | HVTrafo_Phase2_Temp_Avg | 2016-10-07 03:46 | 2016-01-05 | - | - | no alarm | -
Trainsformer | Luiz | HVTrafo_Phase2_Temp_Avg | 23/08/2016 02:21 | 2016-01-05 | - | - | no alarm | -
Hydraulic Group | Luiz | Hyd_Oil_Temp_Avg | - | no alarm | - | 17/06/2017 11:35 | no alarm | -
Gearbox | Luiz | Gear_Bear_Temp_Avg | - | no alarm | - | - | no alarm | -

## Effi
Comparison 1 (Original training / test sets)
|  |  | Training set 1 |  |  | Test set 1 |  |  | Turbine_ID | Component | Timestamp | Remarks
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date | T07 | GENERATOR | 2017-08-21T14:47:00+00:00 | Generator damaged
Gen Bearing | Effi |  | 2016-04-30 12:40 | 2016-03-22 |  | ? | 2017-08-25 | 2017-10-05 | T07 | GENERATOR_BEARING | 2016-04-30T12:40:00+00:00 | High temperature in generator bearing (replaced sensor)
Gen Bearing |  |  | 2017-08-20 06:08 | 2017-07-17 |  |  | 2017-12-20 | 2018-01-30 | T07 | GENERATOR_BEARING | 2017-08-20T06:08:00+00:00 | Generator bearings damaged
Generator | Effi |  | 2017-08-21 14:47 | 2017-08-07 |  | ? | n/a |  | T07 | HYDRAULIC_GROUP | 2017-06-17T11:35:00+00:00 | Oil leakage in Hub
Transformer | Effi |  | 2016-07-10 03:46 | 2016-07-05 |  | ? | n/a |  | T07 | TRANSFORMER | 2016-07-10T03:46:00+00:00 | High temperature transformer
Transformer |  |  | 2016-08-23 02:21 | 2016-09-01 |  |  | n/a |  | T07 | TRANSFORMER | 2016-08-23T02:21:00+00:00 | High temperature transformer. Transformer refrigeration repaired
Hydraulic Group | Effi |  | 2017-06-17 11:35 | 2017-04-02 |  | ? | 2017-08-24 | 2017-10-24
Hydraulic Group | Effi | [5 empty] | 2017-12-23 | 2018-02-24
Gearbox | Effi |  | - | n/a |  | ? | n/a | n/a
Comparison 2 (Training set -> split 80/20 into a new training/test set)
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing | Effi |  | 2016-04-30 12:40 | 2016-03-22 |  | 2017-08-20 | 2017-07-17
| Effi |  |  | 2016-07-31 |  | - | 2017-08-25
| Effi |  |  | 2016-10-12 |  | -
| Effi |  |  | 2017-01-20 |  | -
Generator | Effi |  | - |  |  | 2017-08-21 | no alarm
Transformer | Effi |  | 2016-07-10 03:46 | 2016-07-05 |  | -
| Effi |  | 2016-08-23 02:21 | 2016-09-01 |  | -
Hydraulic Group | Effi |  | - | - |  | 2017-06-17 11:35 | 2017-08-24
Gearbox | Effi |  | - | - | - | - | - | -

## Liu
Comparison 1 (Original training / test sets)
|  |  | Training set 1 |  |  | Test set 1 |  |  | Turbine_ID | Component | Timestamp | Remarks
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date | T07 | GENERATOR | 2017-08-21T14:47:00+00:00 | Generator damaged
Gen Bearing | Liu |  | 2016-04-30 12:40 | 2016-04-29 14:20 |  | ? |  |  | T07 | GENERATOR_BEARING | 2016-04-30T12:40:00+00:00 | High temperature in generator bearing (replaced sensor)
Gen Bearing | Liu |  | 2017-08-20 06:08 | 2017-08-20 00:30 |  |  |  |  | T07 | GENERATOR_BEARING | 2017-08-20T06:08:00+00:00 | Generator bearings damaged
Generator | Liu |  | 2017-08-21 14:47 | no alarm |  | ? |  |  | T07 | HYDRAULIC_GROUP | 2017-06-17T11:35:00+00:00 | Oil leakage in Hub
Transformer | Liu |  | 2016-07-10 03:46 | 2016-07-09 14:10 |  | ? |  |  | T07 | TRANSFORMER | 2016-07-10T03:46:00+00:00 | High temperature transformer
Transformer | Liu |  | 2016-08-23 02:21 | 2016-08-21 19:40 |  |  |  |  | T07 | TRANSFORMER | 2016-08-23T02:21:00+00:00 | High temperature transformer. Transformer refrigeration repaired
Hydraulic Group | Liu |  | 2017-06-17 11:35 | 2017-06-16 09:20 |  | ?
Hydraulic Group | Liu
Gearbox | Liu |  | - |  |  | ?
fault | Liu | [5 empty] | 2017-09-02
fault | Liu | [5 empty] | 2017-09-12
fault | Liu | [5 empty] | 2017-10-02
fault | Liu | [5 empty] | 2017-10-15
Comparison 2 (Training set -> split 80/20 into a new training/test set)
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing |  |  | 2016-04-30 12:40 |  |  | 2017-08-20 06:08
Generator |  |  | - |  |  | 2017-08-21 14:47
Transformer |  |  | 2016-07-10 03:46 |  |  | -
Trainsformer |  |  | 2016-08-23 02:21 |  |  | -
Hydraulic Group |  |  | - |  |  | 2017-06-17 11:35
Gearbox |  |  | - |  |  | -
General |  |  | - |  |  | ?

## Hugo
Comparison 1 (Original training / test sets)
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing | Hugo |  | 2016-04-30 12:40 |  |  | ?
Gen Bearing | Hugo |  | 2017-08-20 06:08
Generator | Hugo |  | 2017-08-21 14:47 | 2017-08-16 |  | ?
Transformer | Hugo |  | 2016-07-10 03:46 |  |  | ?
Transformer | Hugo |  | 2016-08-23 02:21
Hydraulic Group | Hugo |  | 2017-06-17 11:35 | 2017-03-12 |  | ?
Gearbox | Hugo |  | - |  |  | ?
General | Hugo |  | - |  |  | ?
Comparison 2 (Training set -> split 80/20 into a new training/test set)
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing | Hugo |  | 2016-04-30 12:40 |  |  | 2017-08-20 06:08
Generator | Hugo |  | - |  |  | 2017-08-21 14:47 | 2017-08-14
Transformer | Hugo |  | 2016-07-10 03:46 |  |  | -
Transformer | Hugo |  | 2016-08-23 02:21 |  |  | -
Hydraulic Group | Hugo |  | - |  |  | 2017-06-17 11:35 | 2017-05-15
Gearbox | Hugo |  | - |  |  | -
General | Hugo |  | - |  |  | ?

## Yoshi
Instructions: please create a new tab for your model. Add rows for multiple faults
Comparison 1 (Original training / test sets)
|  |  | Training set 1 |  |  | Test set 1 |  |  | Turbine_ID | Component | Timestamp | Remarks
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date | T07 | GENERATOR | 2017-08-21T14:47:00+00:00 | Generator damaged
Gen Bearing | Yoshi | Gen_Bear_Temp_Avg | 2016-04-30 12:40 | no alarm |  | ? | no alarm |  | T07 | GENERATOR_BEARING | 2016-04-30T12:40:00+00:00 | High temperature in generator bearing (replaced sensor)
Gen Bearing |  |  | 2017-08-20 06:08 | 2017-06-18 | from 6 to 10/2017 |  |  |  | T07 | GENERATOR_BEARING | 2017-08-20T06:08:00+00:00 | Generator bearings damaged
Generator | Yoshi | Gen_Phase1_Temp_Avg | 2017-08-21 14:47 | 2017-06-18 | from 6 to 10/2017 | ? | no alarm |  | T07 | HYDRAULIC_GROUP | 2017-06-17T11:35:00+00:00 | Oil leakage in Hub
Transformer | Yoshi | Grd_InverterPhase1_Temp_Avg | 2016-07-10 03:46 | no alarm |  | ? | 2017-06-18 | next strong wind season 07/2018 | T07 | TRANSFORMER | 2016-07-10T03:46:00+00:00 | High temperature transformer
Transformer |  |  | 2016-08-23 02:21 | 2016-07-24 | from 6 to 10/2017 |  |  |  | T07 | TRANSFORMER | 2016-08-23T02:21:00+00:00 | High temperature transformer. Transformer refrigeration repaired
Hydraulic Group | Yoshi | Hyd_Oil_Temp_Avg | 2017-06-17 11:35 | no alarm |  | ? | 2017-08-20 | next strong wind season 07/2018
Gearbox | Yoshi | Gear_Oil_Temp_Avg | - |  |  | ? | 2017-12-17 | next strong wind season 07/2018
General |  |  | - |  |  | ?
Comparison 2 (Training set -> split 80/20 into a new training/test set)
|  |  | Training set 1 |  |  | Test set 1
Component | Author | Signal | SCADA system alarm | Model alarm | Expected failure date | SCADA system alarm | Model alarm | Expected failure date
Gen Bearing | Yoshi | Gen_Bear_Temp_Avg | 2016-04-30 12:40 | no alarm |  | 2017-08-20 06:08 | 2017-06-18 | from 6 to 10/2017
Generator | Yoshi | Gen_Phase1_Temp_Avg | - |  |  | 2017-08-21 14:47 | 2017-06-18 | from 6 to 10/2017
Transformer | Yoshi | Grd_InverterPhase1_Temp_Avg | 2016-07-10 03:46 | no alarm |  | -
Trainsformer |  |  | 2016-08-23 02:21 | 2016-07-24 | from 6 to 10/2017 | -
Hydraulic Group | Yoshi | Hyd_Oil_Temp_Avg | - |  |  | 2017-06-17 11:35 | no alarm
Gearbox | Yoshi | Gear_Oil_Temp_Avg | - |  |  | -
General |  |  | - |  |  | ?
Note on F7: ====== ID#AAAAUvuOWts Yoshiaki Sakagami (2022-02-15 21:15:09) until the end of strong wind/temp season (months 6 to 10)
Note on C8: ====== ID#AAAAUvCS0Sg Yoshiaki Sakagami (2022-02-14 20:23:57) or Gen_Phase2_Temp_Avg or Gen_Phase3_Temp_Avg

## Comparison_old
| Comparison 1 | [15 empty] | Comparison 2
| Training | [7 empty] | Test | [7 empty] | Training | [7 empty] | Test
| SCADA | EDP | Julian | Luiz | Effi | Liu | Yoshi | Simon | SCADA | EDP | Julian | Luiz | Effi | Liu | Yoshi | Simon | SCADA | EDP | Julian | Luiz | Effi | Liu | Yoshi | Simon | SCADA | EDP | Julian | Luiz | Effi | Liu | Yoshi | Simon
2016-03-22 |  |  |  |  | Gen Bearing alarm | [15 empty] | Gen Bearing alarm
2016-03-23
2016-03-24
2016-03-25
2016-03-26
2016-03-27
2016-03-28
2016-03-29
2016-03-30
2016-03-31
2016-04-01
2016-04-02
2016-04-03
2016-04-04
2016-04-05
2016-04-06
2016-04-07
2016-04-08
2016-04-09
2016-04-10
2016-04-11
2016-04-12
2016-04-13
2016-04-14
2016-04-15
2016-04-16
2016-04-17
2016-04-18
2016-04-19
2016-04-20
2016-04-21
2016-04-22
2016-04-23
2016-04-24
2016-04-25
2016-04-26
2016-04-27
2016-04-28
2016-04-29 | [5 empty] | 14:20:00 Gen Bearing alarm
2016-04-30 | 12:40:00 Gen Bearing |  |  | no alarm |  |  | no alarm | [9 empty] | 12:40:00 Gen Bearing |  |  | no alarm
2016-05-01 |  |  |  | Transformer alarm | [15 empty] | Transformer alarm
2016-05-02
2016-05-03
2016-05-04
2016-05-05
2016-05-06
2016-05-07
2016-05-08
2016-05-09
2016-05-10
2016-05-11
2016-05-12
2016-05-13
2016-05-14
2016-05-15
2016-05-16
2016-05-17
2016-05-18
2016-05-19
2016-05-20
2016-05-21
2016-05-22
2016-05-23
2016-05-24
2016-05-25
2016-05-26
2016-05-27
2016-05-28
2016-05-29
2016-05-30
2016-05-31
2016-06-01
2016-06-02
2016-06-03
2016-06-04
2016-06-05
2016-06-06
2016-06-07
2016-06-08
2016-06-09
2016-06-10
2016-06-11
2016-06-12
2016-06-13
2016-06-14
2016-06-15
2016-06-16
2016-06-17
2016-06-18
2016-06-19
2016-06-20
2016-06-21
2016-06-22
2016-06-23
2016-06-24
2016-06-25
2016-06-26
2016-06-27
2016-06-28
2016-06-29
2016-06-30
2016-07-01
2016-07-02
2016-07-03
2016-07-04
2016-07-05 |  |  |  |  | Transformer alarm | [15 empty] | Transformer alarm
2016-07-06
2016-07-07
2016-07-08
2016-07-09
2016-07-10 | 03:46:00 Transformer alarm | [5 empty] | no alarm | [9 empty] | 03:46:00 Transformer alarm
2016-07-11
2016-07-12
2016-07-13
2016-07-14
2016-07-15
2016-07-16
2016-07-17
2016-07-18
2016-07-19
2016-07-20
2016-07-21
2016-07-22
2016-07-23
2016-07-24 | [6 empty] | Transformer alarm | [15 empty] | Transformer alarm
2016-07-25
2016-07-26
2016-07-27
2016-07-28
2016-07-29
2016-07-30
2016-07-31 | [20 empty] | Gen Bearing alarm
2016-08-01
2016-08-02
2016-08-03
2016-08-04
2016-08-05
2016-08-06
2016-08-07
2016-08-08
2016-08-09
2016-08-10
2016-08-11
2016-08-12
2016-08-13
2016-08-14
2016-08-15
2016-08-16 |  | Generator alarm
2016-08-17
2016-08-18
2016-08-19
2016-08-20
2016-08-21 | [5 empty] | 19:40:00 Transformer alarm
2016-08-22
2016-08-23 | 02:21:00 Transformer | [15 empty] | 02:21:00 Transformer
2016-08-24
2016-08-25
2016-08-26
2016-08-27
2016-08-28
2016-08-29
2016-08-30
2016-08-31
2016-09-01 |  |  |  |  | Transformer alarm | [15 empty] | Transformer alarm
2016-09-02
2016-09-03
2016-09-04
2016-09-05
2016-09-06
2016-09-07
2016-09-08
2016-09-09
2016-09-10
2016-09-11
2016-09-12
2016-09-13
2016-09-14
2016-09-15
2016-09-16
2016-09-17
2016-09-18
2016-09-19
2016-09-20
2016-09-21
2016-09-22
2016-09-23
2016-09-24
2016-09-25
2016-09-26
2016-09-27
2016-09-28
2016-09-29
2016-09-30
2016-10-01
2016-10-02
2016-10-03
2016-10-04
2016-10-05
2016-10-06
2016-10-07
2016-10-08
2016-10-09
2016-10-10
2016-10-11
2016-10-12 | [20 empty] | Gen Bearing alarm
2016-10-13
2016-10-14
2016-10-15
2016-10-16
2016-10-17
2016-10-18
2016-10-19
2016-10-20
2016-10-21
2016-10-22
2016-10-23
2016-10-24
2016-10-25
2016-10-26
2016-10-27
2016-10-28
2016-10-29
2016-10-30
2016-10-31
2016-11-01
2016-11-02
2016-11-03
2016-11-04
2016-11-05
2016-11-06
2016-11-07
2016-11-08
2016-11-09
2016-11-10
2016-11-11
2016-11-12
2016-11-13
2016-11-14
2016-11-15
2016-11-16
2016-11-17
2016-11-18
2016-11-19
2016-11-20
2016-11-21
2016-11-22
2016-11-23
2016-11-24
2016-11-25
2016-11-26
2016-11-27
2016-11-28
2016-11-29
2016-11-30
2016-12-01
2016-12-02
2016-12-03
2016-12-04
2016-12-05
2016-12-06
2016-12-07
2016-12-08
2016-12-09
2016-12-10
2016-12-11
2016-12-12
2016-12-13
2016-12-14
2016-12-15
2016-12-16
2016-12-17
2016-12-18
2016-12-19
2016-12-20
2016-12-21
2016-12-22
2016-12-23
2016-12-24
2016-12-25
2016-12-26
2016-12-27
2016-12-28
2016-12-29
2016-12-30
2016-12-31
2017-01-01
2017-01-02
2017-01-03
2017-01-04
2017-01-05
2017-01-06
2017-01-07
2017-01-08
2017-01-09
2017-01-10
2017-01-11
2017-01-12
2017-01-13
2017-01-14
2017-01-15
2017-01-16
2017-01-17
2017-01-18
2017-01-19
2017-01-20 | [20 empty] | Gen Bearing alarm
2017-01-21
2017-01-22
2017-01-23
2017-01-24
2017-01-25
2017-01-26
2017-01-27
2017-01-28
2017-01-29
2017-01-30
2017-01-31
2017-02-01
2017-02-02
2017-02-03
2017-02-04
2017-02-05
2017-02-06
2017-02-07
2017-02-08
2017-02-09
2017-02-10
2017-02-11
2017-02-12
2017-02-13
2017-02-14
2017-02-15
2017-02-16
2017-02-17
2017-02-18
2017-02-19
2017-02-20
2017-02-21
2017-02-22
2017-02-23
2017-02-24
2017-02-25
2017-02-26
2017-02-27
2017-02-28
2017-03-01
2017-03-02
2017-03-03
2017-03-04
2017-03-05
2017-03-06
2017-03-07
2017-03-08
2017-03-09
2017-03-10
2017-03-11
2017-03-12
2017-03-13
2017-03-14
2017-03-15
2017-03-16
2017-03-17
2017-03-18
2017-03-19
2017-03-20
2017-03-21
2017-03-22
2017-03-23
2017-03-24
2017-03-25
2017-03-26
2017-03-27
2017-03-28
2017-03-29
2017-03-30
2017-03-31
2017-04-01
2017-04-02 |  |  |  |  | Hydraulic Group
2017-04-03
2017-04-04
2017-04-05
2017-04-06
2017-04-07
2017-04-08
2017-04-09
2017-04-10
2017-04-11
2017-04-12
2017-04-13
2017-04-14
2017-04-15
2017-04-16
2017-04-17
2017-04-18
2017-04-19
2017-04-20
2017-04-21
2017-04-22
2017-04-23
2017-04-24
2017-04-25
2017-04-26
2017-04-27
2017-04-28
2017-04-29
2017-04-30
2017-05-01
2017-05-02
2017-05-03
2017-05-04
2017-05-05
2017-05-06
2017-05-07
2017-05-08
2017-05-09
2017-05-10
2017-05-11
2017-05-12
2017-05-13
2017-05-14
2017-05-15 |  |  |  | Gen Bearing and Generator alarm | [20 empty] | Gen Bearing and Generator alarm | Hydraulic Group
2017-05-16
2017-05-17
2017-05-18
2017-05-19
2017-05-20
2017-05-21
2017-05-22
2017-05-23
2017-05-24
2017-05-25
2017-05-26
2017-05-27
2017-05-28
2017-05-29
2017-05-30
2017-05-31
2017-06-01
2017-06-02
2017-06-03
2017-06-04
2017-06-05
2017-06-06
2017-06-07
2017-06-08
2017-06-09
2017-06-10
2017-06-11
2017-06-12
2017-06-13
2017-06-14
2017-06-15
2017-06-16 | [5 empty] | 09:20:00 Hydraulic Group alarm
2017-06-17 | 11:35:00 Hydraulic Group | [23 empty] | 11:35:00 Hydraulic Group
2017-06-18 | [6 empty] | Gen Bearing and Generator alarm | [7 empty] | Transformer alarm | [7 empty] | Gen Bearing and Generator alarm
2017-06-19 | [6 empty] | Gen Bearing and Generator expected failure start | [15 empty] | Gen Bearing and Generator expected failure start
2017-06-20
2017-06-21
2017-06-22
2017-06-23
2017-06-24
2017-06-25
2017-06-26
2017-06-27
2017-06-28
2017-06-29
2017-06-30
2017-07-01
2017-07-02
2017-07-03
2017-07-04
2017-07-05
2017-07-06
2017-07-07
2017-07-08
2017-07-09
2017-07-10 | [5 empty] | 14:10:00 Transformer alarm
2017-07-11
2017-07-12
2017-07-13
2017-07-14
2017-07-15
2017-07-16
2017-07-17 |  |  |  |  | Gen Bearing alarm | [23 empty] | Gen Bearing alarm
2017-07-18
2017-07-19
2017-07-20
2017-07-21
2017-07-22
2017-07-23
2017-07-24
2017-07-25
2017-07-26
2017-07-27
2017-07-28
2017-07-29
2017-07-30
2017-07-31
2017-08-01
2017-08-02
2017-08-03
2017-08-04
2017-08-05
2017-08-06
2017-08-07 |  |  |  |  | Generator
2017-08-08
2017-08-09
2017-08-10
2017-08-11
2017-08-12
2017-08-13
2017-08-14 | [25 empty] | Generator alarm
2017-08-15
2017-08-16
2017-08-17
2017-08-18
2017-08-19
2017-08-20 | 06:08:00 Gen Bearing |  |  |  |  | 00:30:00 Gen Bearing alarm | [8 empty] | Hydraulic Group alarm | [9 empty] | 06:08:00 Gen Bearing
2017-08-21 | 14:47:00 Generator | [23 empty] | 14:47:00 Generator |  |  |  | no alarm
2017-08-22
2017-08-23
2017-08-24 | [12 empty] | Hydraulic Group alarm | [15 empty] | Hydraulic Group alarm
2017-08-25 | [12 empty] | Gen Bearing alarm | [15 empty] | Gen Bearing alarm
2017-08-26
2017-08-27
2017-08-28
2017-08-29
2017-08-30
2017-08-31
2017-09-01
2017-09-02 | [13 empty] | alarm
2017-09-03
2017-09-04
2017-09-05
2017-09-06
2017-09-07
2017-09-08
2017-09-09
2017-09-10
2017-09-11
2017-09-12 | [13 empty] | alarm
2017-09-13
2017-09-14
2017-09-15
2017-09-16
2017-09-17
2017-09-18
2017-09-19
2017-09-20
2017-09-21
2017-09-22
2017-09-23
2017-09-24
2017-09-25
2017-09-26
2017-09-27
2017-09-28
2017-09-29
2017-09-30
2017-10-01
2017-10-02 | [13 empty] | alarm
2017-10-03
2017-10-04
2017-10-05 | [12 empty] | Gen Bearing expected failure
2017-10-06
2017-10-07
2017-10-08
2017-10-09
2017-10-10
2017-10-11
2017-10-12
2017-10-13
2017-10-14
2017-10-15 | [13 empty] | alarm
2017-10-16
2017-10-17
2017-10-18
2017-10-19
2017-10-20
2017-10-21
2017-10-22
2017-10-23
2017-10-24 | [12 empty] | Hydraulic Group expected failure
2017-10-25
2017-10-26
2017-10-27
2017-10-28
2017-10-29
2017-10-30 | [6 empty] | Gen Bearing and Generator expected failure end | [15 empty] | Gen Bearing and Generator expected failure end
2017-10-31
2017-11-01
2017-11-02
2017-11-03 | [11 empty] | Generator alarm
2017-11-04
2017-11-05
2017-11-06
2017-11-07
2017-11-08
2017-11-09
2017-11-10
2017-11-11
2017-11-12
2017-11-13
2017-11-14
2017-11-15
2017-11-16
2017-11-17
2017-11-18
2017-11-19
2017-11-20
2017-11-21
2017-11-22
2017-11-23
2017-11-24
2017-11-25
2017-11-26
2017-11-27
2017-11-28
2017-11-29
2017-11-30
2017-12-01
2017-12-02
2017-12-03 |  | Hydraulic Group alarm | [9 empty] | Gen Bearing alarm
2017-12-04
2017-12-05
2017-12-06
2017-12-07
2017-12-08
2017-12-09
2017-12-10
2017-12-11
2017-12-12
2017-12-13
2017-12-14
2017-12-15
2017-12-16
2017-12-17 | [14 empty] | Gearbox
2017-12-18
2017-12-19
2017-12-20 | [12 empty] | Gen Bearing alarm
2017-12-21
2017-12-22
2017-12-23 | [12 empty] | Hydraulic Group alarm
2017-12-24
2017-12-25
2017-12-26
2017-12-27
2017-12-28
2017-12-29
2017-12-30
2017-12-31
2018-01-01
2018-01-02
2018-01-03
2018-01-04
2018-01-05
2018-01-06
2018-01-07
2018-01-08
2018-01-09
2018-01-10
2018-01-11
2018-01-12
2018-01-13
2018-01-14
2018-01-15
2018-01-16
2018-01-17
2018-01-18
2018-01-19
2018-01-20
2018-01-21
2018-01-22
2018-01-23
2018-01-24
2018-01-25
2018-01-26
2018-01-27
2018-01-28
2018-01-29
2018-01-30 | [12 empty] | Gen Bearing expected failure
2018-01-31
2018-02-01
2018-02-02
2018-02-03
2018-02-04
2018-02-05
2018-02-06
2018-02-07
2018-02-08
2018-02-09
2018-02-10
2018-02-11
2018-02-12
2018-02-13
2018-02-14
2018-02-15
2018-02-16
2018-02-17
2018-02-18
2018-02-19
2018-02-20
2018-02-21
2018-02-22
2018-02-23
2018-02-24 | [12 empty] | Hydraulic Group expected failure
2018-02-25
2018-02-26
2018-02-27
2018-02-28
2018-03-01
2018-03-02
2018-03-03
2018-03-04
2018-03-05
2018-03-06
2018-03-07
2018-03-08
2018-03-09
2018-03-10
2018-03-11
2018-03-12
2018-03-13
2018-03-14
2018-03-15
2018-03-16
2018-03-17
2018-03-18
2018-03-19
2018-03-20
2018-03-21
2018-03-22
2018-03-23
2018-03-24
2018-03-25
2018-03-26
2018-03-27
2018-03-28
2018-03-29
2018-03-30
2018-03-31
2018-04-01
2018-04-02
2018-04-03

## Comparison_new
Component | Person | Alarm date | Corresponding SCADA alarm | Expected failure date | Time before SCADA alarm | Classification | Training or test | Signal | Comparison 1 or 2 | Notes
Gen Bearing | SCADA | 2016-04-30 | 2016-04-30 |  | - |  | Training | - | 1
Gen Bearing | SCADA | 2017-08-20 | 2017-08-20 |  | - |  | Training | - | 1
Generator | SCADA | 2017-08-21 | 2017-08-21 |  | - |  | Training | - | 1
Transformer | SCADA | 2016-07-10 | 2016-07-10 |  | - |  | Training | - | 1
Transformer | SCADA | 2016-08-23 | 2016-08-23 |  | - |  | Training | - | 1
Hydraulic Group | SCADA | 2017-06-17 | 2017-06-17 |  | - |  | Training | - | 1
Gen Bearing | JQ | 2016-02-01 | 2016-04-30 |  | 89 | FP | Training | Gen_SlipRing_Temp_Avg | 1
Gen Bearing | JQ | 2017-07-03 | 2017-08-20 |  | 48 | TP | Training | Gen_SlipRing_Temp_Avg | 1
Gen Bearing | JQ | 2017-07-17 | 2017-08-20 |  | 34 | TP | Training | Gen_SlipRing_Temp_Avg | 1
Generator | JQ |  | 2017-08-21 |  | - | FN | Training |  | 1
Transformer | JQ |  | 2016-07-10 |  | - | FN | Training |  | 1
Transformer | JQ |  | 2016-08-23 |  | - | FN | Training |  | 1
Hydraulic Group | JQ |  | 2017-06-17 |  | - | FN | Training |  | 1
Gen Bearing | LL | 2017-05-15 | 2017-08-20 |  | 97 | FP | Training | Gen_Bear_Temp_Avg | 1
Gen Bearing | LL |  | 2016-04-30 |  | - | FN | Training |  | 1
Generator | LL | 2017-05-15 | 2017-08-21 |  | 98 | FP | Training | Gen_Phase1_Temp_Avg | 1
Transformer | LL | 2016-05-01 | 2016-07-10 |  | 70 | FP | Training | HVTrafo_Phase2_Temp_Avg | 1
Transformer | LL |  | 2016-08-23 |  | - | FN | Training |  | 1
Hydraulic Group | LL |  | 2017-06-17 |  | - | FN | Training |  | 1
Gen Bearing | EL | 2016-03-22 | 2016-04-30 |  | 39 | TP | Training | Hyd_Oil_Temp_Avg | 1
Gen Bearing | EL | 2017-07-17 | 2017-08-20 |  | 34 | TP | Training |  | 1
Generator | EL | 2017-08-07 | 2017-08-21 |  | 14 | TP | Training |  | 1
Transformer | EL | 2016-05-07 | 2016-07-10 |  | 64 | FP | Training |  | 1
Transformer | EL | 2016-09-01 | 2016-08-23 |  | -9 | FP | Training |  | 1
Hydraulic Group | EL | 2017-04-02 | 2017-06-17 |  | 76 | FP | Training |  | 1
Gen Bearing | YL | 2016-04-29 | 2016-04-30 |  | 1 | FP | Training |  | 1 | This was detected too late and therefore is not a TP. Is it therefore a FP?
Gen Bearing | YL | 2017-08-20 | 2017-08-20 |  | 0 | FP | Training |  | 1 | This was detected too late and therefore is not a TP. Is it therefore a FP?
Generator | YL |  | 2017-08-21 |  | - | FN | Training |  | 1
Transformer | YL | 2016-07-09 | 2016-07-10 |  | 1 | FP | Training |  | 1 | This was detected too late and therefore is not a TP. Is it therefore a FP?
Transformer | YL | 2016-08-21 | 2016-08-23 |  | 2 | TP | Training |  | 1
Hydraulic Group | YL | 2017-06-16 | 2017-06-17 |  | 1 | FP | Training |  | 1 | This was detected too late and therefore is not a TP. Is it therefore a FP?
Gen Bearing | EDP |  | 2016-04-30 |  | - | FN | Training |  | 1
Gen Bearing | EDP |  | 2017-08-20 |  | - | FN | Training |  | 1
Generator | EDP | 2017-08-16 | 2017-08-21 |  | 5 | TP | Training |  | 1
Transformer | EDP |  | 2016-07-10 |  | - | FN | Training |  | 1
Transformer | EDP |  | 2016-08-23 |  | - | FN | Training |  | 1
Hydraulic Group | EDP | 2017-03-12 | 2017-06-17 |  | 97 | FP | Training |  | 1
Gen Bearing | YS | 2017-06-18 | 2017-08-20 |  | 63 | FP | Training | Gen_Bear_Temp_Avg | 1
Gen Bearing | YS |  | 2016-04-30 |  | - | FN | Training |  | 1
Generator | YS | 2017-06-18 | 2017-08-21 |  | 64 | FP | Training | Gen_Phase1_Temp_Avg | 1
Transformer | YS |  | 2016-07-10 |  | - | FN | Training |  | 1
Transformer | YS | 2016-07-24 | 2016-08-23 |  | 30 | FP | Training | Grd_InverterPhase1_Temp_Avg | 1
Hydraulic Group | YS |  | 2017-06-17 |  | - | FN | Training |  | 1
Gen Bearing | SCADA |  |  |  | - |  | Test | - | 1
Generator | SCADA |  |  |  | - |  | Test | - | 1
Transformer | SCADA |  |  |  | - |  | Test | - | 1
Hydraulic Group | SCADA |  |  |  | - |  | Test | - | 1
Gen Bearing | JQ | 2017-12-31 |  |  |  |  | Test |  | 1
Gen Bearing | LL | 2017-12-03 |  |  |  |  | Test |  | 1
Generator | LL | 2017-11-03 |  |  |  |  | Test |  | 1
Gen Bearing | EL | 2017-08-25 |  | 05.10.2017 |  |  | Test |  | 1
Gen Bearing | EL | 2017-12-20 |  | 30.01.2018 |  |  | Test |  | 1
Hydraulic Group | EL | 2017-08-24 |  | 24.10.2017 |  |  | Test |  | 1
Hydraulic Group | EL | 2017-12-23 |  | 24.02.2018 |  |  | Test |  | 1
Fault | YL | 2017-09-02 |  |  |  |  | Test |  | 1
Fault | YL | 2017-09-12 |  |  |  |  | Test |  | 1
Fault | YL | 2017-10-02 |  |  |  |  | Test |  | 1
Fault | YL | 2017-10-15 |  |  |  |  | Test |  | 1
Transformer | YS | 2017-06-18 |  |  |  |  | Test |  | 1
Hydraulic Group | YS | 2017-08-20 |  |  |  |  | Test |  | 1
Gearbox | YS | 2017-12-17 |  |  |  |  | Test |  | 1
Gen Bearing | SCADA | 2016-04-30 |  |  |  |  | Training |  | 2
Transformer | SCADA | 2016-07-10 |  |  |  |  | Training |  | 2
Transformer | SCADA | 2016-08-23 |  |  |  |  | Training |  | 2
Gen Bearing | JQ | 2016-02-01 | 2016-04-30 |  | 89 | FP | Training | Gen_SlipRing_Temp_Avg | 2
Gen Bearing | JQ | 2017-07-03 | 2016-04-30 |  | -429 | FP | Training | Gen_SlipRing_Temp_Avg | 2
Gen Bearing | JQ | 2017-07-17 | 2016-04-30 |  | -443 | FP | Training | Gen_SlipRing_Temp_Avg | 2
Transformer | JQ |  | 2016-07-10 |  | - | FN | Training | HVTrafo_Phase2_Temp_Avg | 2
Transformer | JQ |  | 2016-08-23 |  | - | FN | Training | HVTrafo_Phase2_Temp_Avg | 2
Gen Bearing | LL |  | 2016-04-30 |  | - | FN | Training |  | 2
Transformer | LL | 2016-05-01 | 2016-07-10 |  | 70 | FP | Training | HVTrafo_Phase2_Temp_Avg | 2
Transformer | LL |  | 2016-08-23 |  | - | FN | Training |  | 2
Gen Bearing | EL | 2016-03-22 | 2016-04-30 |  | 39 | TP | Training |  | 2
Gen Bearing | EL | 2016-07-31 | 2016-04-30 |  | -92 | FP | Training |  | 2
Gen Bearing | EL | 2016-10-12 | 2016-04-30 |  | -165 | FP | Training |  | 2
Gen Bearing | EL | 2017-01-20 | 2016-04-30 |  | -265 | FP | Training |  | 2
Transformer | EL | 2016-07-05 | 2016-07-10 |  | 5 | TP | Training |  | 2
Transformer | EL | 2016-09-01 | 2016-08-23 |  | -9 | FP | Training |  | 2
Gen Bearing | YS |  | 2016-04-30 |  | - | FN | Training |  | 2
Transformer | YS |  | 2016-07-10 |  | - | FN | Training |  | 2
Transformer | YS | 2016-07-24 | 2016-08-23 |  | 30 | TP | Training | Grd_InverterPhase1_Temp_Avg | 2
Gen Bearing | EDP |  | 2016-04-30 |  | - | FN | Training |  | 2
Transformer | EDP |  | 2016-07-10 |  | - | FN | Training |  | 2
Transformer | EDP |  | 2016-08-23 |  | - | FN | Training |  | 2
Gen Bearing | SCADA | 2017-08-20 |  |  |  |  | Test |  | 2
Generator | SCADA | 2017-08-21 |  |  |  |  | Test |  | 2
Hydraulic Group | SCADA | 2017-06-17 |  |  |  |  | Test |  | 2
Gen Bearing | JQ | 2017-10-09 | 2017-08-20 |  | -50 | FP | Test |  | 2
Gen Bearing | JQ | 2017-11-09 | 2017-08-20 |  | -81 | FP | Test |  | 2
Gen Bearing | JQ | 2017-12-31 | 2017-08-20 |  | -133 | FP | Test |  | 2
Generator | JQ |  | 2017-08-21 |  | - | FN | Test |  | 2
Hydraulic Group | JQ |  | 2017-06-17 |  | - | FN | Test |  | 2
Gen Bearing | LL | 2017-05-15 | 2017-08-20 |  | 97 | FP | Test | Gen_Bear_Temp_Avg | 2
Generator | LL | 2017-05-15 | 2017-08-21 |  | 98 | FP | Test | Gen_Phase1_Temp_Avg | 2
Hydraulic Group | LL |  | 2017-06-17 |  | - | FN | Test |  | 2
Gen Bearing | EL | 2017-07-17 | 2017-08-20 |  | 34 | TP | Test |  | 2
Gen Bearing | EL | 2017-08-25 | 2017-08-20 |  | -5 | FP | Test |  | 2
Hydraulic Group | EL | 2017-08-24 | 2017-06-17 |  | -68 | FP | Test |  | 2
Gen Bearing | EDP |  | 2017-08-20 |  | - | FN | Test
Generator | EDP | 2017-08-14 | 2017-08-21 |  | 7 | TP | Test |  | 2
Hydraulic Group | EDP | 2017-05-15 | 2017-06-17 |  | 33 | TP | Test |  | 2
Gen Bearing | YS | 2017-06-18 | 2017-08-20 |  | 63 | FP | Test | Gen_Bear_Temp_Avg | 2
Generator | YS | 2017-06-18 | 2017-08-21 |  | 64 | FP | Test | Gen_Phase1_Temp_Avg | 2
Hydraulic Group | YS |  | 2017-06-17 |  | - | FN | Test |  | 2